Proprietary BMP Inspections and Maintenance Checklist

Site Name: 	Owner Change since last inspection? Y N

Location:

Owner Name:

Address 	Phone Number

Site Status:

Date: 	Time: 	Site conditions:

Inspection Frequency Key: A=annual; M=monthly; S=after major storms

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| Debris Removal |  |  |  |  |
| Adjacent area free of debris? | M |  |  |  |
| Inlets and Outlets free of debris? | M |  |  |  |
| Facility (internally) free of debris? | M |  |  |  |
| Vegetation |  |  |  |  |
| Surrounding area fully stabilized? (no evidence of eroding material into proprietary BMP) | M |  |  |  |
| Grass mowed? | M |  |  |  |
| Water retention where required |  |  |  |  |
| Water holding chambers at normal pool? | M |  |  |  |
| Evidence of erosion? |  |  |  |  |
| Sediment Deposition |  |  |  |  |
| Filtration Chamber free of sediments? | A |  |  |  |
| Sedimentation chamber not more than 50% full? | A |  |  |  |
| Structural Components |  |  |  |  |
| Any evidence of structural deterioration? | A |  |  |  |
| Grates in good condition? | A |  |  |  |
| Spalling or cracking of structural parts? | A |  |  |  |
| Outlet/Overflow Spillway | A |  |  |  |
| Other |  |  |  |  |
| Noticeable odors? | A |  |  |  |
| Any evidence of filter(s) clogging? | M |  |  |  |
| Evidence of flow bypassing facility? | A |  |  |  |

Inspector Comments:

Overall Condition of Facility:    Acceptable	 Unacceptable

If any of the above Inspection Items are checked “Yes” for “Maintenance Needed,” list Maintenance actions and their completion dates below:

| Maintenance Action Needed | Due Date |
| --- | --- |

The next routine inspection is scheduled for approximately:

(date) Inspected by: (signature)  		 Inspected by: (printed)